[image: image1.png]TOWN OF HARRIETSTOWN USE ONLY
Based on the above criteria the system i

New

Duty Officer / Program Supervisor. Date:

Replacement







	
	TOWN OF HARRIETSTOWN
39 Main Street
Saranac Lake, NY 12983
Phone: 518 - 891-1470              
harrietstown.gov



SEWAGE TREATMENT SYSTEM PERMIT APPLICATION

This packet contains all the information needed to obtain a construction permit and certificate of approval from the Town of Harrietstown as required by Article III, 102-7 of the Town of Harrietstown Sanitary Code and 

Individual Residence Wastewater Treatment Systems Design Handbook 1996 NYS Department of Health, Appendix 75-A of the New York State Sanitary Code.


INSTRUCTIONS:
(1)
Fill out the Permit Form.  Please include all the relevant information about your proposed or existing home.

(2)
Consult the Town of Harrietstown whether the septic system is a new or replacement system.

(3)
A NEW SYSTEM:

If your lot is in a Realty Subdivision approved by the Town of Harrietstown, your soil evaluation has already been done for you.  Proceed to Step 5.


If your lot is not in a Realty Subdivision, you will need a Professional Soil Evaluator to conduct the soil tests on your site.  Make arrangements for the Soil Evaluator to come to your site and perform the tests.  Inform the Soil Evaluator of the location of the proposed system and have him/her indicate on the Plot Plan exactly where the tests were performed.  The Soil Evaluator will fill out the Soil and Site Data Sheets.


Provide two (2) sets of engineered blueprints stamped by a New York State licensed design professional.

HOMEOWNER RESPONSIBILITIES            SOIL & SITE EVALUATOR RESPONSIBILITIES

1.
Determine location of the individual                    1.          Conduct all soil & site evaluations according to


sewage treatment system.                                                  NYS Sanitary Code, Appendix 75-A Standards.

2.
Arrange for all necessary excavations.                 2.         Conduct deep-hole test and use test data to

3. 
Supply an adequate amount of water for                          determine proper depth for percolation tests.


Percolation tests.



      3.         Conduct percolation tests.

4.
Obtain completed Soil & Site Data Sheets           4.         Fill out Soil & Data Sheets with test results.

From the Soil Evaluator                                        
      Mark test locations on Plot Plan Sheet.                                                                                                      

* The Soil & Site Evaluator is not responsible for the actual design of the septic system.  The Town of Harrietstown can provide technical assistance and shall reserve the right to present any soil and site evaluation.
INSTRUCTIONS CONTINUED:


B:  REPLACEMENT SYSTEM

Fill out the “Determination of Status” from page 3 and have this form reviewed by the Town of Harrietstown.  Once the Town of Harrietstown determines that the system is a replacement system, you may continue with these replacement system instructions; otherwise, you must follow the instructions for a new system.

You will need soil tests conducted on your site.  For replacement systems, these test may be performed by either  by a Soil Evaluator your chosen contractor or yourself.  Whoever is chosen as “Soil Evaluator” must fill out the Soil & Site Data Sheets.

Engineered blueprints stamped by a New York State licensed design professional may be required by the New York State Department of Health.

Before any construction, complete and submit the Construction Permit Application form along with the Soil & Site Data Sheets to the Town of Harrietstown.  For lots in an approved subdivision, the Soil & Site Data Sheets are not necessary as the soil and site information is taken from the approved subdivision plan on file at the Town of Harrietstown.


Only with an approved Construction Permit in your possession may you proceed with the installation of the sewage treatment system.  You should also contact any other agencies which may have jurisdiction to ensure compliance with their regulations.  The system must be installed as specified on the Construction Permit.  It, in the course of installing the system, field changes become necessary, the Town of Harrietstown must be notified.  The Town of Harrietstown must approve the proposed changes and revise the approved Construction Permit before changes can be made to the system.


When the sewage treatment system has been completed, but not covered, notify the Town of Harrietstown at least 24 hours in advance that you are ready for final inspection.  An inspector will visit the site sometime between 8 a.m. and 4 p.m. to check the installed system against the Town of Harrietstown’s copy of the approved Construction Permit.


If the final inspection is satisfactory, a Certificate of Acceptance for the individual sewage treatment system will be issued to the owner.  Possession of a copy of the Certificate of Acceptance is your assurance that the system has been installed in accordance with New York State Standards, and if well maintained, will function properly.
SEWAGE TREATMENT SYSTEM
DETERMINATION OF STATUS
***REQUIRED FOR REPLACEMENT SYSTEMS ONLY***
                                                                                                                                                     YES             NO

Is this new construction on previously undeveloped property?                                                 ______        ______

Is a new Certificate of Occupancy required by the Town?                                                        ______
______

CHANGE IN SIZE / INTENDED USAGE:
Is there an addition of one or more bedrooms compared with the 

pre-existing structure?                                  
______
______

Is this a seasonal dwelling converted to year-round use?
______
______

PRIOR SYSTEM:

Was there a previous septic system installed on this lot?
______
______

Has it been in use for the past 5 years?
______      
______

Was it approved by the Town of Harrietstown?
______
______

OCCUPANCY:
Has the lot been continuously occupied in present?
______
______

Has the lot been unoccupied for 5 years or more?
______
______

Is there a prior Certificate of Occupancy granted by the Town Codes Officer?
______
______

What year was the house build / structure placed on lot? ________________

What year was sewage system installed? ________________

I HEREBY CERTIFY THAT THE ABOVE INFORMATION IS TRUE:
_______________________________________________________            _____________________________

                             OWNER’S SIGNATURE                                                                          DATE


[image: image2.jpg]7

‘ G \
FRANKLIN COUNTY  TOWN OF

HARRIETSTOWN

. ¢ /4B

Ey yOR®




TOWN OF HARRIETSTOWN
SEWAGE TREATMENT SYSTEM

CONSTRUCTION PERMIT APPLICATION

(Please print or type all information below)

                                     Date: __________________

Property Owner___________________________________________________________________________

Owner Telephone Number: (day) _____________________________ (evening) _______________________
Mailing Address___________________________________________________________________________

                                                     (Street)                              (City / Town)                  (State)            (Zip)
(Please circle / enter the description that applies)

E-911 Address of Property __________________________________________________________________

Tax Map # ____________________________________ Estimated Construction Cost $_________________

Lot Type:  Private Lot / Approved Subdivision  Subdivision Name_______________________ Lot #_______

Wetlands:  Is there a DEC regulated wetland on-site: Yes / No  If yes, is the wetland permit attached? Yes / No

APA:  Is an APA permit required?  Yes / No              If yes, is the permit attached?  Yes / No

Building Type:  Wood frame / Mobile Home / Double-Wide Mobile Home / Other_______________________

Number of Bedrooms:  1 / 2 / 3 / 4 / 5 / Other____________________________________________________

Foundation:  Full Basement / Half-Basement / Slab / Block Supports / Other____________________________

Type of Septic System:  New / Replacement / Engineered (Consult Health Dept. for definitions)

Water Supply:  Drilled Well / Dug Well / Public Water Supply / Other_______________________________

If not on public water, indicate type of water pump:  Submersible (pressure) / Siphon-jet (suction)

Will low-flow fixtures (1991 or newer, 1.6 gallons / flush toilets) be installed in the home?  Yes / No

Will a garbage disposal be installed?  Yes / No (if so you will need a dual compartment tank with gas deflection baffle)
Will a several-person hot tub or spa be installed?  Yes / No

Leach Field Type: Crushed Stone Trenches / Plastic Chambers / Eljen Units / Other______________________
Septic Tank Size:  1000 gal / 1250 gal / 1500 gal / 2000 gal 

System to be Installed by:___________________________________________________________________

Owner’s Signature:______________________________________     Date:  __________________________

	TOWN OF HARRIETSTOWN USE ONLY

Final Approval By:_______________________

Date:___________


	TOWN OF HARRIETSTOWN USE ONLY

Fee Paid__________________

Date ________________

Permit # _______________

ALL APPLICABLE FEES ARE NON-REFUNDABLE




TOWN OF HARRIETSTOWN

SEWAGE TREATMENT SYSTEM INSPECTION

OWNER:____________________________________________________________PERMIT #____________

     ITEM                             REQUIREMENT
                   NOTES
Septic Tank
______  ________Gallons
________________________________


______  Level, 2” drop inlet to outlet
________________________________


______  Baffled/Tees installed
________________________________


______  ¼” thickness wall pipe
________________________________


______  inlet pipe ¼” per foot slope
________________________________


______  Outlet pipe 1/8” per foot slope
________________________________


______  Pipes sealed
________________________________


______  10’ from foundation
________________________________


______  50’ from well(s)
________________________________


______  Multi-compartment
________________________________


______  Gas/Deflection baffle
________________________________


______  ____________________________
________________________________

D-Box
______  Level (on crushed stone/pea gravel)
________________________________


______  ¼” thickness inlet pipe
________________________________


______  Pipes sealed
________________________________

______  2” drop inlet to outlet
________________________________


______  2” outlet above bottom
________________________________


______  Baffled (if slope over ½” per foot)
________________________________


______  ____________________________
________________________________

Pipes to trenches
______  Solid for first 5’
________________________________


______  All outlet pipes at same level
________________________________

Trenches
______  Stone trench / SB-2 pipe
________________________________


______  ________ Feet Total
________________________________


______  No water in trench
________________________________


______  No mottling
________________________________


______  Not in too deep
________________________________


______  1/16” – 1/32” per foot slope
________________________________


______  End Caps
________________________________


______  Crushed Stone
________________________________


______  Hay/Paper/Cover
________________________________


______  10’ to property lines
________________________________


______  20’ to basement
________________________________


______  100’ to all wells
________________________________

Subdivision Specs/other
_____  ____________________________
___________________________

WAIVER NEEDED?     YES / NO                                                                            WAIVER GRANTED?     YES / NO

Inspected by:____________________________________________________________Date:______________________

Remarks:_________________________________________________________________________________________

Re-inspected by:_________________________________________________________Date:______________________

Remarks:_________________________________________________________________________________________

Conditions of Approval:_____________________________________________________________________________

SYSTEM APPROVED FOR BACKFILLING?     YES / NO

By:_____________________________________________________________________Date:_____________________

              New or Replacement System - $80.00


      Make Checks payable to – Town of Harrietstown








1
2

_1238844622

