SUMPTER TOWNSHIP

23480 Sumpter Rd. Belleville, MI 48111

(734) 256-4420

ADDITION GUIDELINES

YOU ARE REQUIRED TO HAVE THE FOLLOWING ITEMS BEFORE A

BUILDING PERMIT IS ISSUED FOR AN ADDITION

- Permit application

- A complete application for a building permit

- If the new structure is being built by someone other than the homeowner, a copy of the builder’s state license, certificate of insurance, and Federal ID # is required. If the homeowner is doing the work, sign the homeowner's affidavit

- Two sets of blueprints & specs on the new structure (one will be returned, when approved by the building official)

- All plans must adhere to the 2015 Michigan Residential Code (MRC) standards

- Plan Review fee: $75

- Plot plan required showing setbacks, as well as proposed & existing grades, swales, limits of fill and contours

Front corners & one side to be staked with 4’ stakes, as well as the home location

- Note-site plan drainage to be 2% slope to a minimum of ten (10) feet away from house elevations

- Energy compliance report required

- Septic Tank Permit- from Wayne County Department of Environmental Health (WCEHD)

- Water Tap Permit- (See the water department for application) or well permit (if applicable) from WCEHD

- Copy of ownership record (Registered Deed, Land Contract)

Note: Minimum roof pitch is 6/12

While you are waiting for approval on items 2-5, from the respective Local and County Departments, you may submit items from #1 for approval.

Temporary house numbers are required on the road during construction. Permanent house numbers are required after construction and must be clearly visible from the road at the drive entrance. Approved plans and specifications are to be available for all inspections at the job site at all times. Homeowner is to open an account with Detroit Edison (DTE), AS SOON AS POSSIBLE.

NOTICE: The water table affects most footing locations in Sumpter Township & surrounding areas. It is recommended by this office that the bottom of the footing be no less than one (1) inch above the water table. It is therefore recommended that a posthole be dug at the time of skating to a depth of four (4) feet. Before excavation, the hole will be inspected by the excavator. Example: If the water in the post hole is thirty (30) inches below the existing grade, the bottom of the footing shall be no more than twenty-nine (29) inches below the existing grade.

Section 4.18 Schedule of Area, Height and Placement Regulations.

The following regulations regarding lot sizes, yards, setbacks, lot coverage, structure size and densities apply within the zoning districts as indicated, including those “additional regulations” referred to in the following table.

No structure shall be erected, nor shall an existing structure be altered, enlarged or rebuilt, nor shall any open space surrounding any structure be encroached upon or reduced in any manner, except in conformity with the regulations hereby established for the district in which such structure is located. No portion of a lot used in complying with the provisions of this Ordinance for yards, lot area, occupancy, in connection with an existing or projected structure, shall again be used to qualify or justify any other structure existing or intended to exist at the same time.